
[image: image1.png]


www.mtarget.com ● tel: 610 738 7938 ● email: briangray@mtarget.com
Catalog Number: SR-1002
Product Name: SRfluor® 680 Carboxylate
Product Description: A far-red emitting dye (Figure 1), belonging to the squaraine rotaxane family of dyes, which bears a free carboxyl group that can be coupled to free amino groups. 

Figure 1: Spectra of SRfluor®-680 carboxylate. (absorption maxima = 650 nm; emission maxima = 678 nm)

[image: image2.wmf]500

600

700

800

0

20

40

60

80

100

0

20

40

60

80

100

(

0.5 

m

M in DMSO

)

 

 Fl. intensity, a. u

Absorbance, normalized



Wavelength, nm

 Absorption

 Emission


Product size: 1 mg of crystalline dark green powder.
Molecular Weight: 1109
Product Purity:  > 90% by HPLC at 650nm
Extinction Coefficient (DMSO): 242,500 cm-1M-1 (650 nm).
Storage/Stability:  Solid should be stored in the dark at room temperature. Stock solutions in DMSO should be stored in the dark at 0-4oC and are found to be stable for at least 1 month.  
Applications:

SRfluor®-680 carboxylate has been found to be 5-20X brighter compared with cyanines, Alexa® and Atto dyes and also to have improved chemical and photochemical stability (1-3). It can be coupled to peptides, proteins and antibodies, etc., to provide fluorescent conjugates for use in Western-Blots and in vivo imaging studies.  

Additional Information:
· 1mg of SRfluor®-680 carboxylate can be dissolved in 0.9 mL of DMSO to provide a 1mM stock solution. 
· SRfluor® 680 carboxylate can be efficiently excited with either 633nm or 647nm laser lines and detected using a standard filter set-up for Cy5.

Typical activation procedure for coupling to amino groups: 

Stirring a mixture of SRfluor®-680 carboxylate, EDC (N-(3-Dimethylaminopropyl)-N′-ethylcarbodiimide hydrochloride) and HOBt (1-Hydroxybenzotriazole hydrate) in DMSO  will form the activated ester form which can then be used for conjugation with amines of interest.
References:

(1) Johnson, J. R.; Fu, N.; Arunkumar, E.; Leevy, W. M.; Gammon, S. T.; Piwinica-Worms, D.; Smith, B. D. Squaraine Rotaxanes: Superior Substitutes for Cy-5 in Molecular Probes for Near-Infrared Fluorescence Cell Imaging Angew. Chem. Int. Ed. 2007, 46, 5528.

(2) Arunkumar, E.; Fu, N.; Smith, B. D. Squaraine-Derived Rotaxanes: Highly Stable, Fluorescent Near-IR Dyes. Chem.-Eur. J. 2006, 12, 4684.
(3) Arunkumar, E; Forbes, C. C.; Noll, B. C.; Smith B. D. Squaraine-Derived Rotaxanes: Sterically Protected Fluorescent Near-IR Dyes J. Am. Chem. Soc. 2005, 127, 3288.

SRfluor® is a trademark of Molecular Targeting Technologies, Inc.
Alexa® is a trademark of Molecular Probes, a subsidiary of Invitrogen.

833 Lincoln Avenue, Unit 9,  West Chester, PA 19380 USA   www.mtarget.com
Tel: 610-738-7938  Fax: 610-738-7928  E-mail: briangray@mtarget.com      Version 1: September 2011

