www.mtarget.com ● tel: 610 738 7938 ● email: briangray@mtarget.com

Catalog Number: SR-1003 Product Name: SRfluor® 15-crown-5

Product Description: A far-red emitting dye (Figure 1), belonging to the squaraine

rotaxane family of dyes, which bears a 15-crown-5 group complexed with K+

Figure 1: Spectra of SRfluor®-15-crown-5. (absorption maxima = 641 nm; emission

Product size: 0.8 mL of 1mM solution in ethanol:water (4:1).

Molecular Weight: 1374+K+

Product Purity:  > 90% by HPLC

Extinction Coefficient (ethanol): 182770 cm-1M-1 (641 nm).

Storage/Stability: Stock solutions in ethanol:water (4:1) should be stored in the dark at

0-4oC and are found to be stable for at least 1 month.

Applications: SRfluor®-dyes has been found to be 5-20X brighter compared with cyanines, Alexa® and ATTO® dyes and also to have improved chemical and photochemical stability (1-3).

Additional Information:

- SRfluor® 15-crown-5 can be efficiently excited with either 633nm or 647nm laser lines and detected using a standard filter set-up for Cy5.

References:

(1) Johnson, J. R.; Fu, N.; Arunkumar, E.; Leevy, W. M.; Gammon, S. T.; Piwinica-Worms, D.; Smith, B. D. Squaraine Rotaxanes: Superior Substitutes for Cy-5 in Molecular Probes for Near-Infrared Fluorescence Cell Imaging Angew. Chem. Int. Ed. 2007, 46, 5528.

(2) Arunkumar, E.; Fu, N.; Smith, B. D. Squaraine-Derived Rotaxanes: Highly Stable, Fluorescent Near-IR Dyes. Chem.-Eur. J. 2006, 12, 4684.

(3) Arunkumar, E; Forbes, C. C.; Noll, B. C.; Smith B. D. Squaraine-Derived Rotaxanes: Sterically Protected Fluorescent Near-IR Dyes J. Am. Chem. Soc. 2005, 127, 3288.

SRfluor® is a trademark of Molecular Targeting Technologies, Inc.